## Transmitter
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Instrument Range | Instrument UOM | Loop Power | NEMA Enclosure | On SCADA? | Output Type | Owned By | Special Mtn Note | Special Mtn Note Det | Transmitter Type | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5013954 | FOXBORO | TLNO-BTR DISCHARGE /XMTR | ILCP-TO-TLNO.-BTR. | P301 | INSV | INST | HUSSAARM | H | 12170057 | IGP10-A22DIF |  | PSI | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013955 | FOXBORO | PESO DISCHARGE /XMTR | ILCP-PS-PESO. | P301 | INSV | INST | HUSSAARM | H |  |  |  | PSI | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013956 | FOXBORO | PESOPRV DISCHARGE /XMTR | ILCP-PS-PESOP | P301 | INSV | INST | HUSSAARM | H |  |  |  | PSI | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013957 | UNKNOWN | BRAD-WCM-FERRICRM BULK TANK /XMTR | ILCP-CP-BRAD.-WCM.-FERR | P301 | INSV | INST | HUSSAARM | H |  |  |  | LBS | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013958 | UNKNOWN | BRAD-WCM-FERRICRM DAY TANK /XMTR | ILCP-CP-BRAD.-WCM.-FERR | P301 | INSV | INST | HUSSAARM | H |  |  |  | LBS | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013959 | UNKNOWN | BRAD-MNB-FL2ROOM BULK TANK /XMTR | ILCP-CP-BRAD.-MNB.-FL2R | P301 | INSV | INST | HUSSAARM | H |  |  |  | LBS | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013960 | UNKNOWN | BRAD-MNB-FL2ROOM DAY TANK /XMTR | ILCP-CP-BRAD.-MNB.-FL2R | P301 | INSV | INST | HUSSAARM | H |  |  |  | LBS | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013961 | UNKNOWN | BRAD-MNB-PHOSFTRM BULK TANK /XMTR | ILCP-CP-BRAD.-MNB.-PHOS | P301 | INSV | INST | HUSSAARM | H |  |  |  | LBS | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013962 | UNKNOWN | BRAD-MNB-PHOSFTRM DAY TANK /XMTR | ILCP-CP-BRAD.-MNB.-PHOS | P301 | INSV | INST | HUSSAARM | H |  |  |  | LBS | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013964 | MILLTRONICS | MATS-CEM-NRTHCEMRM E8 SLURRY /XMTR | ILCP-CP-MATS.-CEM.-NRTH | P301 | INSV | INST | HUSSAARM | H |  |  |  | LBS | Y | 3 RAINTIGHT | N | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013966 | MILLTRONICS | MATS-CEM-NRTHCEMRM W8 SLURRY /XMTR | ILCP-CP-MATS.-CEM.-NRTH | P301 | INSV | INST | HUSSAARM | H |  |  |  | LBS | N | 3 RAINTIGHT | N | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013967 | UNKNOWN | BRAD-MNB-HYPORM HYPO 1LEVEL /XMTR | ILCP-CP-BRAD.-MNB.-HYPO | P301 | INSV | INST | HUSSAARM | H |  |  |  | FEET | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013968 | UNKNOWN | BRAD-MNB-HYPORM HYPO2 LVL /XMTR | ILCP-CP-BRAD.-MNB.-HYPO | P301 | INSV | INST | HUSSAARM | H |  |  |  | FEET | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013969 | FOXBORO | BRAD PLANT PRESSURE /XMTR | ILCP-CP-BRAD. | P301 | INSV | INST | HUSSAARM | H |  |  |  | PSI | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013970 | FOXBORO | BRAD RAW BACK PRESSURE /XMTR | ILCP-CP-BRAD. | P301 | INSV | INST | HUSSAARM | H |  |  |  | PSI | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013971 | DREXELBROOK | BRAD-WCM LIME SILO 1 /XMTR | ILCP-CP-BRAD.-WCM. | P301 | INSV | INST | HUSSAARM | H |  |  |  | LBS | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013972 | DREXELBROOK | BRAD-WCM LIME SILO 2 /XMTR | ILCP-CP-BRAD.-WCM. | P301 | INSV | INST | HUSSAARM | H |  |  |  | LBS | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013973 | DREXELBROOK | BRAD-MNB FILTER 1 /XMTR | ILCP-CP-BRAD.-MNB. | P301 | INSV | INST | HUSSAARM | H |  |  |  | FEET | N | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013974 | DREXELBROOK | BRAD-MNB FILTER 2 /XMTR | ILCP-CP-BRAD.-MNB. | P301 | INSV | INST | HUSSAARM | H |  |  |  | FEET | N | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013975 | DREXELBROOK | BRAD-MNB FILTER 3 /XMTR | ILCP-CP-BRAD.-MNB. | P301 | INSV | INST | HUSSAARM | H |  |  |  | FEET | N | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013976 | DREXELBROOK | BRAD-MNB FILTER 4 /XMTR | ILCP-CP-BRAD.-MNB. | P301 | INSV | INST | HUSSAARM | H |  |  |  | FEET | N | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013977 | UNKNOWN | MATS-FBW HEADLOSS W8 EF /XMTR | ILCP-CP-MATS.-FBW. | P301 | INSV | INST | HUSSAARM | H |  |  |  | PSI | N | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013978 | UNKNOWN | MATS-FBW HEADLOSS W8 WF /XMTR | ILCP-CP-MATS.-FBW. | P301 | INSV | INST | HUSSAARM | H |  |  |  | PSI | N | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013979 | UNKNOWN | MATS-FBE HEADLOSS E8 EF /XMTR | ILCP-CP-MATS.-FBE. | P301 | INSV | INST | HUSSAARM | H |  |  |  | PSI | N | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013980 | UNKNOWN | MATS-FBE HEADLOSS E8 WF /XMTR | ILCP-CP-MATS.-FBE. | P301 | INSV | INST | HUSSAARM | H |  |  |  | PSI | N | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013981 | FOXBORO | NEIL-NTK NORTH TANK /XMTR | ILCP-CP-NEIL.-NTK. | P301 | INSV | INST | HUSSAARM | H |  |  |  | FEET | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013982 | FOXBORO | NEIL-STK SOUTH TANK /XMTR | ILCP-CP-NEIL.-STK. | P301 | INSV | INST | HUSSAARM | H |  |  |  | FEET | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013983 | FOXBORO | MKTST-TNK TANK /XMTR | ILCP-CP-MKTST-TNK. | P301 | INSV | INST | HUSSAARM | H |  |  |  | FEET | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013984 | FOXBORO | STJO-TNK TANK /XMTR | ILCP-SJ-STJO.-TNK. | P301 | INSV | INST | HUSSAARM | H |  |  |  | FEET | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013985 | FOXBORO | URBNA-TNK TANK /XMTR | ILCP-UR-URBNA-TNK. | P301 | INSV | INST | HUSSAARM | H |  |  |  | FEET | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013986 | FOXBORO | STDP-STD TANK /XMTR | ILCP-CP-STDP.-STD. | P301 | INSV | INST | HUSSAARM | H |  |  |  | FEET | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013987 | FOXBORO | TLNO-TNK TANK /XMTR | ILCP-TO-TLNO.-TNK. | P301 | INSV | INST | HUSSAARM | H | 12371870 | IGP10-A22DIF |  | FEET | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013988 | FOXBORO | PESO-TNK TANK /XMTR | ILCP-PS-PESO.-TNK. | P301 | INSV | INST | HUSSAARM | H |  |  |  | FEET | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5182605 | MILLTRONICS | LINC-PDB-CHEMRM CHEMCNT BASIN/XMTR | ILCP-UR-LINC.-PDB.-CHEM | P301 | REMV | INAC INST | FARRARDR | H |  |  |  | FEET | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5190303 | FOXBORO | TLNO-TNK TANK OUTLET | ILCP-TO-TLNO.-BTR. | P301 | INSV | INST | FARRARDR | H | 12371879 | IGP10-A22DIF |  | FEET | Y | 1,2 INDOOR | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5193200 | FOXBORO | TLNO-BTR INLET/XMTR |  | P301 | INSV | AVLB | FARRARDR | H | 12392043 | IGP10-A22DIF |  | PSI | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013953 | FOXBORO | STDP-BTR DISCHARGE /XMTR | ILCP-CP-STDP.-BTR. | P301 | INSV | INST | HUSSAARM | H |  |  |  | PSI | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013907 | SIEMENS | LINC-PDB-CHEMRM FERRIC BLK /XMTR | ILCP-UR-LINC.-PDB.-CHEM | P301 | REMV | INAC INST | HUSSAARM | H |  |  |  | INCHES | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013908 | SIEMENS | LINC-PDB-CHEMRM FLOURIDE BLK /XMTR | ILCP-UR-LINC.-PDB.-CHEM | P301 | REMV | INAC INST | HUSSAARM | H |  |  |  | INCHES | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013909 | SIEMENS | LINC-PDB-CHEMRM SILICA BLK /XMTR | ILCP-UR-LINC.-PDB.-CHEM | P301 | REMV | INAC INST | HUSSAARM | H |  |  |  | INCHES | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013910 | SIEMENS | LINC-ECB ESLUDGE PIT /XMTR | ILCP-UR-LINC.-ECB. | P301 | REMV | INAC INST | HUSSAARM | H |  |  |  | FEET | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013911 | SIEMENS | LINC-WCB WSLUDGE PIT /XMTR | ILCP-UR-LINC.-WCB. | P301 | REMV | INAC INST | HUSSAARM | H |  |  |  | FEET | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013912 | MILLTRONICS | LINC-PDB-CHEMRM WSLURRY TK /XMTR | ILCP-UR-LINC.-PDB.-CHEM | P301 | REMV | INAC INST | HUSSAARM | H |  |  |  | FEET | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013913 | MILLTRONICS | LINC-PDB-CHEMRM ESLURRY TK /XMTR | ILCP-UR-LINC.-PDB.-CHEM | P301 | REMV | INAC INST | HUSSAARM | H |  |  |  | FEET | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013914 | MILLTRONICS | LINC-F10 FIL10 LEVEL /XMTR | ILCP-UR-LINC.-F10. | P301 | REMV | INAC INST | HUSSAARM | H |  |  |  | FEET | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013915 | MILLTRONICS | LINC-F11 FIL11 LEVEL /XMTR | ILCP-UR-LINC.-F11. | P301 | REMV | INAC INST | HUSSAARM | H |  |  |  | FEET | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013916 | MILLTRONICS | LINC-F12 FIL12 LEVEL /XMTR | ILCP-UR-LINC.-F12. | P301 | REMV | INAC INST | HUSSAARM | H |  |  |  | FEET | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013917 | MILLTRONICS | LINC-NCW NORTH CLRWL LEVEL /XMTR | ILCP-UR-LINC.-NCW. | P301 | REMV | INAC INST | HUSSAARM | H |  |  |  | FEET | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013918 | MILLTRONICS | LINC-SCW SOUTH CLRWL LEVEL /XMTR | ILCP-UR-LINC.-SCW. | P301 | REMV | INAC INST | HUSSAARM | H |  |  |  | FEET | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013919 | FOXBORO | LINC-PDB-HSRM PLNT PRS /XMTR | ILCP-UR-LINC.-PDB.-HSRO | P301 | REMV | INAC INST | HUSSAARM | H |  |  |  | PSI | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013921 | FOXBORO | LINC RAW BACK PRESSURE /XMTR | ILCP-UR-LINC. | P301 | REMV | INAC INST | HUSSAARM | H |  |  |  | PSI | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013922 | UNKNOWN | LINC-PDB-CHEMRM LIM SILO1 /XMTR | ILCP-UR-LINC.-PDB.-CHEM | P301 | REMV | INAC INST | HUSSAARM | H |  |  |  | FEET | N | 1,2 INDOOR | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013923 | UNKNOWN | LINC-PDB-CHEMRM LIM SILO2 /XMTR | ILCP-UR-LINC.-PDB.-CHEM | P301 | REMV | INAC INST | HUSSAARM | H |  |  |  | FEET | N | 1,2 INDOOR | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013924 | SIEMENS | BRAD-MNB-PIPEGAL FERRIC BLK /XMTR | ILCP-CP-BRAD.-MNB.-PIPE | P301 | INSV | INST | HUSSAARM | H |  |  |  | FEET | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013925 | SIEMENS | BRAD-MNB-PIPEGAL FLOURIDE BLK /XMTR | ILCP-CP-BRAD.-MNB.-PIPE | P301 | INSV | INST | HUSSAARM | H |  |  |  | FEET | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013926 | SIEMENS | BRAD-RCB SILICA BULK /XMTR | ILCP-CP-BRAD.-RCB. | P301 | INSV | INST | HUSSAARM | H |  |  |  | FEET | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013927 | MILLTRONICS | MATS E8 CLRWL /XMTR | ILCP-CP-MATS. | P301 | INSV | INST | HUSSAARM | H |  |  |  | FEET | N | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013928 | MILLTRONICS | MATS W8 CLRWL /XMTR | ILCP-CP-MATS. | P301 | INSV | INST | HUSSAARM | H |  |  |  | FEET | N | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013929 | FOXBORO | MATS RAW BACK PRESSURE /XMTR | ILCP-CP-MATS. | P301 | INSV | INST | HUSSAARM | H |  |  |  | PSI | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013930 | FOXBORO | LINC-F10 HEADLOSS /XMTR | ILCP-UR-LINC.-F10. | P301 | REMV | INAC INST | HUSSAARM | H |  |  |  | PSI | N | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013931 | FOXBORO | LINC-F11 HEADLOSS /XMTR | ILCP-UR-LINC.-F11. | P301 | REMV | INAC INST | HUSSAARM | H |  |  |  | PSI | N | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013932 | FOXBORO | LINC-F12 HEADLOSS /XMTR | ILCP-UR-LINC.-F12. | P301 | REMV | INAC INST | HUSSAARM | H |  |  |  | PSI | N | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013933 | UNKNOWN | MATS-CEM-NRTHCEMRM E8 LIM SILO /XMTR | ILCP-CP-MATS.-CEM.-NRTH | P301 | INSV | INST | HUSSAARM | H |  |  |  | FEET | Y | 1,2 INDOOR | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013934 | UNKNOWN | MATS-CEM-NRTHCEMRM W8 LIM SILO /XMTR | ILCP-CP-MATS.-CEM.-NRTH | P301 | INSV | INST | HUSSAARM | H |  |  |  | FEET | Y | 1,2 INDOOR | Y | 4-20MA | AW |  |  | LEVEL TX | Maint Look Functional Location | Ops Look Functional Location
5013939 | UNKNOWN | MATS-E8S E8 BASIN LEVELS /XMTR | ILCP-CP-MATS.-E8S. | P301 | INSV | INST | HUSSAARM | H |  |  |  | FEET | N | 1,2 INDOOR | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013940 | UNKNOWN | MATS-W8C W8 BASIN LEVELS /XMTR | ILCP-CP-MATS.-W8C. | P301 | INSV | INST | HUSSAARM | H |  |  |  | FEET | N | 1,2 INDOOR | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013946 | FOXBORO | NEIL-BTR DISCHARGE /XMTR | ILCP-CP-NEIL.-BTR. | P301 | INSV | INST | HUSSAARM | H |  |  |  | PSI | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013947 | FOXBORO | MKTST-BTR DISCHARGE /XMTR | ILCP-CP-MKTST-BTR. | P301 | INSV | INST | HUSSAARM | H |  |  |  | PSI | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013948 | FOXBORO | MKTST-BTR SUCTION /XMTR | ILCP-CP-MKTST-BTR. | P301 | INSV | INST | HUSSAARM | H |  |  |  | PSI | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013949 | FOXBORO | STJO-BTR DISCHARGE /XMTR | ILCP-SJ-STJO.-BTR. | P301 | INSV | INST | HUSSAARM | H |  |  |  | PSI | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013950 | FOXBORO | URBNA-BTR DISCHARGE /XMTR | ILCP-UR-URBNA-BTR. | P301 | INSV | INST | HUSSAARM | H |  |  |  | PSI | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013951 | FOXBORO | R150 DISCHARGE /XMTR | ILCP-CP-R150. | P301 | INSV | INST | HUSSAARM | H |  |  |  | PSI | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location
5013952 | FOXBORO | AR-TU DISCHARGE /XMTR | ILCP-AT-ARTUS | P301 | INSV | INST | HUSSAARM | H |  |  |  | PSI | Y | 3 RAINTIGHT | Y | 4-20MA | AW |  |  | DIFF PRESSURE TX | Maint Look Functional Location | Ops Look Functional Location