## UVSanitizer
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Number of Lamps/Modu | Number of UV Modules | Owned By | Peak Process Flow (g | Retention Time (seco | Special Mtn Note | Special Mtn Note Det | UV System Type | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5017322 | UNKNOWN | PLNT-UVB UV DISINFECTION SYS2 /UV SYS | MOJP-Z1-PLNT.-UVB. | P353 | INSV | INST | HUSSAARM | H |  |  |  |  | AW |  |  |  |  | STANDARD UV | Maint Water Treatment Equip | Ops Water Treatment
5017323 | UNKNOWN | PLNT-UVB UV DISINFECTION SYS3 /UV SYS | MOJP-Z1-PLNT.-UVB. | P353 | INSV | INST | HUSSAARM | H |  |  |  |  | AW |  |  |  |  | STANDARD UV | Maint Water Treatment Equip | Ops Water Treatment
5017324 | UNKNOWN | PLNT-UVB UV DISINFECTION SYS4 /UV SYS | MOJP-Z1-PLNT.-UVB. | P353 | INSV | INST | HUSSAARM | H |  |  |  |  | AW |  |  |  |  | STANDARD UV | Maint Water Treatment Equip | Ops Water Treatment
5044192 | UNKNOWN | PLNT-UVB UV DISINFECTION SYS1 /UV SYS | MOJP-Z1-PLNT.-UVB. | P353 | INSV | INST | HUSSAARM | H |  |  |  |  | AW |  |  |  |  | STANDARD UV | Maint Water Treatment Equip | Ops Water Treatment
5154561 | SENTINEL-CALGON | CENT-CTR-TRT UV System /UV SYS | PAFR-FR-CENT.-CTR.-TRT. | P109 | INSV | INST | HUSSAARM | H | CUI-4 | 2-030611-01-03041 | 0 EA | 0 EA | AW | 0.0 GPM | 0 s |  |  | SELFCLEANING UV | Maint Water Treatment Equip | Ops Water Treatment
5239604 | UNKNOWN | ROCKC-DAM1 MPC bouy /UV SYSTEM | PACO-CL-ROCKC-DAM1 | P136 | INSV | INST | BAERJC | M | G09 | MPC Buoy |  |  | AW |  |  |  |  | STANDARD UV | Maint Water Treatment Equip | Ops Water Treatment
5001564 | UNKNOWN | RIVER-UVBL UV REACTOR 1 /UV SYS | ILPE-PE-RIVER-UVBL | P306 | INSV | INST | HUSSAARM | H |  | Sentinel UV | 0 EA | 0 EA | AW | 0.0 GPM | 0 s |  |  | SELFCLEANING UV | Maint Water Treatment Equip | Ops Water Treatment
5001566 | UNKNOWN | RIVER-UVBL UV REACTOR 2 /UV SYS | ILPE-PE-RIVER-UVBL | P306 | INSV | INST | HUSSAARM | H |  | Sentinel UV | 0 EA | 0 EA | AW | 0.0 GPM | 0 s |  |  | SELFCLEANING UV | Maint Water Treatment Equip | Ops Water Treatment
5001568 | UNKNOWN | RIVER-UVBL UV REACTOR 3 /UV SYS | ILPE-PE-RIVER-UVBL | P306 | INSV | INST | HUSSAARM | H |  | Sentinel UV | 0 EA | 0 EA | AW | 0.0 GPM | 0 s |  |  | SELFCLEANING UV | Maint Water Treatment Equip | Ops Water Treatment