## UninteruptedPowerSupply
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Amp Rating | Owned By | Special Mtn Note | Special Mtn Note Det | UPS Type | Volt Rating | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5162745 | UNKNOWN | CBPT-TRMT TREATMENT BUILDING UPS /UPS | NJCW-EZ-CBPT.-TRMT | P216 | INSV | INST | HUSSAARM | H |  | Powerware 9155 |  | AW |  |  | UPS* | 240 | Maint Look Functional Location | Ops Look Functional Location
5162746 | UNKNOWN | CBPT-PMPR PUMP RESIDUALS BLDNG UPS /UPS | NJCW-EZ-CBPT.-PMPR | P216 | INSV | INST | HUSSAARM | H |  | Powerware 9155 |  | AW |  |  | UPS* | 240 | Maint Look Functional Location | Ops Look Functional Location
5208517 |  | ALLENRDBS /UPS | NJCW-WZ-ALLEN | P216 | INSV | INST | SCHREIBL | H | 114907 | 1400 |  | AW |  |  | UPS* | 120/240 | Maint Look Functional Location | Ops Look Functional Location