## Sheet1
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Amp Rating | Owned By | Special Mtn Note | Special Mtn Note Det | UPS Type | Volt Rating | NARUC Maintenance Ac | NARUC Operations Acc | NARUC Special Mtn Note | NARUC Special Mtn Note Det | Facility MC | Equipment Condition | Equipment Performance | Equipment Consequence of Failure | Equipment Static Dynamic Type | Date Installed
5162745 | UNKNOWN | CBPT-TRMT TREATMENT BUILDING UPS /UPS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  | Powerware 9155 |  | AW |  |  | UPS* | 240 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5162746 | UNKNOWN | CBPT-PMPR PUMP RESIDUALS BLDNG UPS /UPS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  | Powerware 9155 |  | AW |  |  | UPS* | 240 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5208517 | UNKNOWN | ALLENRDBS /UPS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | 114907 | 1400 |  | AW |  |  | UPS* | 120/240 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5208518 | UNKNOWN | ALLENRDBS /UPS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | 114907 | 1400 |  | AW |  |  | UPS* | 120/240 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | CBPT-TRMT TREATMENT BUILDING UPS /UPS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  | Powerware 9155 |  | AW |  |  | UPS* | 240 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | CBPT-PMPR PUMP RESIDUALS BLDNG UPS /UPS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  | Powerware 9155 |  | AW |  |  | UPS* | 240 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | ALLENRDBS /UPS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | 114907 | 1400 |  | AW |  |  | UPS* | 120/240 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | ALLENRDBS /UPS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | 114907 | 1400 |  | AW |  |  | UPS* | 120/240 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC