## Sheet1
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Application | Backwash Rate (gpm/s | Flow Normal Range | Indoor/Outdoor | Material of Construc | Media 1 Depth | Media 1 Type | Media 2 Depth | Media 2 Type | Media Regeneration R | Owned By | Special Mtn Note | Special Mtn Note Det | Stripper Type | Surface Area (sq/ft) | Wash Type | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det | NARUC Special Mtn Note | NARUC Special Mtn Note Det | Facility MC | Equipment Condition | Equipment Performance | Equipment Consequence of Failure | Equipment Static Dynamic Type | Date Installed
5017307 | UNKNOWN | PLNT AERATOR /STRIPPER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | WATER |  | 440-550 |  | OTHER |  | PLASTIC BLOCK SUPPORT |  |  |  | AW |  |  | PACKED AIR TOWER |  | AIR SCOUR | Maint Water Treatment Equip | Ops Water Treatment |  |  |  |  | NJMM-MM-ABTNK-MCC
5051310 | UNKNOWN | PLNT AERATOR /STRIPPER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | WATER | 0.000 GF2 | 2986 | OUTDOORS | OTHER | 8.00 Feet | PLASTIC BLOCK SUPPORT | 0.00 Feet |  | Y | AW |  |  | PACKED AIR TOWER | 0.00 ft2 |  | Maint Water Treatment Equip | Ops Water Treatment |  |  |  |  | NJMM-MM-ABTNK-MCC
5055410 | UNKNOWN | (RET)PLANT-PLT AERATOR /STRIPPER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | WATER | 0.000 GF2 | 2120 | OUTDOORS | OTHER | 0.00 Feet | OTHER | 0.00 Feet |  |  | AW |  |  | PACKED AIR TOWER | 0.00 ft2 | AIR SCOUR | Maint Water Treatment Equip | Ops Water Treatment |  |  |  |  | NJMM-MM-ABTNK-MCC
5055411 | UNKNOWN | (RET)PLANT-PLT AERATOR /STRIPPER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | WATER | 0.000 GF2 | 2120 | OUTDOORS | OTHER | 0.00 Feet | OTHER | 0.00 Feet |  |  | AW |  |  | PACKED AIR TOWER | 0.00 ft2 | AIR SCOUR | Maint Water Treatment Equip | Ops Water Treatment |  |  |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | PLNT AERATOR /STRIPPER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | WATER |  | 440-550 |  | OTHER |  | PLASTIC BLOCK SUPPORT |  |  |  | AW |  |  | PACKED AIR TOWER |  | AIR SCOUR | Maint Water Treatment Equip | Ops Water Treatment |  |  |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | PLNT AERATOR /STRIPPER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | WATER | 0.000 GF2 | 2986 | OUTDOORS | OTHER | 8.00 Feet | PLASTIC BLOCK SUPPORT | 0.00 Feet |  | Y | AW |  |  | PACKED AIR TOWER | 0.00 ft2 |  | Maint Water Treatment Equip | Ops Water Treatment |  |  |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | (RET)PLANT-PLT AERATOR /STRIPPER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | WATER | 0.000 GF2 | 2120 | OUTDOORS | OTHER | 0.00 Feet | OTHER | 0.00 Feet |  |  | AW |  |  | PACKED AIR TOWER | 0.00 ft2 | AIR SCOUR | Maint Water Treatment Equip | Ops Water Treatment |  |  |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | (RET)PLANT-PLT AERATOR /STRIPPER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | WATER | 0.000 GF2 | 2120 | OUTDOORS | OTHER | 0.00 Feet | OTHER | 0.00 Feet |  |  | AW |  |  | PACKED AIR TOWER | 0.00 ft2 | AIR SCOUR | Maint Water Treatment Equip | Ops Water Treatment |  |  |  |  | NJMM-MM-ABTNK-MCC