## WaterQualityAnalyzer
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Analyzer Type | Comm Protocol | High Alarm SetPoint | Loop Power | Low Alarm SetPoint | Max Pressure | NEMA Enclosure | On SCADA? | Output Type | Owned By | Special Mtn Note | Special Mtn Note Det | Standby Power Type | Transmitter? | Volt Rating | WQ-Temperature | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5160083 | HACH | CBPT-TRMT OZONATED RAW WATER TURB/WQA | NJCW-EZ-CBPT.-TRMT | P216 | INSV | INST | HUSSAARM | M |  | 1720E/SC200 | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160084 | SIEMENS | CBPT-TRMT MIXED WATER PH /WQA | NJCW-EZ-CBPT.-TRMT | P216 | INSV | INST | HUSSAARM | M |  | Depolox3 Plus Resi | PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160085 | CHEMTRAC | CBPT-TRMT MIXED WATER STREAMING/WQA | NJCW-EZ-CBPT.-TRMT | P216 | INSV | INST | HUSSAARM | M |  | SCM2500 | SCD ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160087 | HACH | CBPT-TRMT DAF #1 TURB /WQA | NJCW-EZ-CBPT.-TRMT | P216 | INSV | INST | HUSSAARM | M |  | 1720E/SC200 | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160088 | HACH | CBPT-TRMT DAF #2 TURB /WQA | NJCW-EZ-CBPT.-TRMT | P216 | INSV | INST | HUSSAARM | M |  | 1720E/SC200 | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160089 | HACH | CBPT-TRMT DAF NO 3 TURB /WQA | NJCW-EZ-CBPT.-TRMT | P216 | INSV | INST | HUSSAARM | M |  | 1720E/SC200 | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160090 | HACH | CBPT-TRMT DAF EFFLUENT TURBIDIT/WQA | NJCW-EZ-CBPT.-TRMT | P216 | INSV | INST | HUSSAARM | M |  | 1720E/SC200 | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160091 | CHEMTRAC | CBPT-TRMT FILTER # 1 PARTICLE /WQA | NJCW-EZ-CBPT.-TRMT | P216 | INSV | INST | HUSSAARM | M |  | PC3400 | PARTICLE COUNTER ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160092 | CHEMTRAC | CBPT-TRMT FILTER # 2 PARTICLE /WQA | NJCW-EZ-CBPT.-TRMT | P216 | INSV | INST | HUSSAARM | M |  | PC3400 | PARTICLE COUNTER ANLYZR(C) | [6 empty] | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160093 | HACH | CBPT-TRMT FILTER # 1 TURB /WQA | NJCW-EZ-CBPT.-TRMT | P216 | INSV | INST | HUSSAARM | M |  | 1720E/SC200 | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160094 | HACH | CBPT-TRMT FILTER # 2 TURB /WQA | NJCW-EZ-CBPT.-TRMT | P216 | INSV | INST | HUSSAARM | M |  | 1720E/SC200 | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160095 | CHEMTRAC | CBPT-TRMT FILTER # 3 PARTICLE /WQA | NJCW-EZ-CBPT.-TRMT | P216 | INSV | INST | HUSSAARM | M |  | PC3400 | PARTICLE COUNTER ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160096 | CHEMTRAC | CBPT-TRMT FILTER # 4 PARTICLE /WQA | NJCW-EZ-CBPT.-TRMT | P216 | INSV | INST | HUSSAARM | M |  | PC3400 | PARTICLE COUNTER ANLYZR(C) | [6 empty] | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160097 | HACH | CBPT-TRMT FILTER # 3 TURB /WQA | NJCW-EZ-CBPT.-TRMT | P216 | INSV | INST | HUSSAARM | M |  | 1720E/SC200 | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160098 | HACH | CBPT-TRMT FILTER # 4 TURB /WQA | NJCW-EZ-CBPT.-TRMT | P216 | INSV | INST | HUSSAARM | M |  | 1720E/SC200 | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160099 | HACH | CBPT-TRMT COMBINED FILTER EFF TURB /WQA | NJCW-EZ-CBPT.-TRMT | P216 | INSV | INST | HUSSAARM | M |  | 1720E/SC200 | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160501 | UNKNOWN | CBPT-TRMT COMBINED FLT EFF PRIM TOC /WQA | NJCW-EZ-CBPT.-TRMT | P216 | INSV | INST | HUSSAARM | M |  | Sievers5310C OnLine | TOC ANLYZR (C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160502 | SIEMENS | CBPT-PMPR PRE CLEARWELL PH /WQA | NJCW-EZ-CBPT.-PMPR | P216 | INSV | INST | HUSSAARM | M |  | Depolox3 Plus Resi | PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160503 | SIEMENS | CBPT-PMPR PRE CLEARWELL CHLORINE /WQA | NJCW-EZ-CBPT.-PMPR | P216 | INSV | INST | HUSSAARM | M |  | Depolox3 Plus Resi | CL2 COLORMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160504 | HACH | CBPT-PMPR PRE CLEAR WELL TURB /WQA | NJCW-EZ-CBPT.-PMPR | P216 | INSV | INST | HUSSAARM | M |  | 1720E/SC200 | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160505 | SIEMENS | CBPT-PMPR POST CLEAR WELL PH /WQA | NJCW-EZ-CBPT.-PMPR | P216 | INSV | INST | HUSSAARM | M |  | Depolox3 Plus Resi | PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160506 | SIEMENS | CBPT-PMPR POST CLEAR WELL CHLORINE /WQA | NJCW-EZ-CBPT.-PMPR | P216 | INSV | INST | HUSSAARM | M |  | Depolox3 Plus Resi | CL2 COLORMETRIC/PH ANLYZR(C) | [6 empty] | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160507 | SIEMENS | CBPT-PMPR DISTRIBUTION PH /WQA | NJCW-EZ-CBPT.-PMPR | P216 | INSV | INST | HUSSAARM | M |  | Depolox3 Plus Resi | PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160508 | HACH | CBPT-PMPR DISTRIBUTION TURB /WQA | NJCW-EZ-CBPT.-PMPR | P216 | INSV | INST | HUSSAARM | M |  | 1720E/SC200 | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160509 | SIEMENS | CBPT-PMPR DISTRIBUTION CHLORINE /WQA | NJCW-EZ-CBPT.-PMPR | P216 | INSV | INST | HUSSAARM | M |  | Depolox3 Plus Resi | CL2 COLORMETRIC/PH ANLYZR(C) | [6 empty] | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160510 | HACH | CBPT-PMPR BACKWASH SUP TURB /WQA | NJCW-EZ-CBPT.-PMPR | P216 | INSV | INST | HUSSAARM | M |  | 1720E/SC200 | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160511 | HACH | CBPT-SLDG SLUDGE HOLDING SUP TURB /WQA | NJCW-EZ-CBPT.-SLDG | P216 | INSV | INST | HUSSAARM | M |  | 1720E/SC200 | TURBIDITY ANLYZR (LO)(C) | [6 empty] | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5170642 | UNKNOWN | WYOMLO-BS CL2 Wetside/WQA | NJCW-EZ-WYOML-BS.. | P216 | INSV | INST | HUSSAARM | M |  |  | CL2 AMPEROMETRIC ANLYZR(C) |  |  |  |  | 0.0 PSI |  |  |  | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5170645 | UNKNOWN | CHATBS CL2/WQA | NJCW-EZ-CHATB | P216 | INSV | INST | HUSSAARM | M |  | DEPOLOX 3 | CL2 AMPEROMETRIC ANLYZR(C) |  |  |  |  | 0.0 PSI |  |  |  | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5170647 | HACH | DIAMNDBS TURB/WQA | NJCW-EZ-DIAMN | P216 | INSV | INST | HUSSAARM | M |  | 172OC | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI |  |  |  | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5189100 |  | CBPT-PMPR OZONE DEWPOINT /WQA | NJCW-EZ-CBPT.-PMPR | P216 | INSV | INST | SCHREIBL | M |  |  | OTHER ANLYZR(C) | [8 empty] | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5207102 | WALLACE-TIERNAN | TWINLK ph/CL2 WQA for RES/WQA | NJTW-TW-TWINL | P216 | INSV | INST | SCHREIBL | H | BH91390-07 |  | CL2 AMP/PH/CONDUCT ANLYZR(C) |  |  |  |  | 0.0 PSI | 1,2 INDOOR | Y | 4-20MA | AW |  |  | BATTERY |  | 120 | N | Maint Water Treatment Equip | Ops Water Treatment
5236926 |  | SOBST ph/CL2 WQA for RES 280 /WQA | NJCW-SO-SOBST | P216 | INSV | INST | SCHREIBL | M | 8104280 |  | CL2 AMP/PH/CONDUCT ANLYZR(C) |  |  | Y |  |  | 1,2 INDOOR | Y | 4-20MA | AW |  |  | GENERATOR | Y | 120 | Y | Maint Water Treatment Equip | Ops Water Treatment
5236927 |  | SOBST ph/CL2 WQA for RES 288 /WQA | NJCW-SO-SOBST | P216 | INSV | INST | SCHREIBL | M |  |  | CL2 AMP/PH/CONDUCT ANLYZR(C) |  |  | Y |  |  | 1,2 INDOOR | Y | 4-20MA | AW |  |  | GENERATOR | Y | 120 | Y | Maint Water Treatment Equip | Ops Water Treatment
5160082 | SIEMENS | CBPT-TRMT OZONATED RAW WATER PH /WQA | NJCW-EZ-CBPT.-TRMT | P216 | INSV | INST | HUSSAARM | M |  | Depolox3 Plus Resi | PH ANLYZR(C) | [6 empty] | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5091920 | UNKNOWN | CBPT-RS1 Pump 10 Finished Fluoride/WQA | NJCW-EZ-CBPT.-RS1. | P216 | OOS | INAC INST | HUSSAARM | M |  |  | FLUORIDE ANLYZR(C) | [8 empty] | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5091921 | UNKNOWN | CBPT pH Clearwell Finished/WQA | NJCW-EZ-CBPT. | P216 | INSV | INST | HUSSAARM | M |  |  | PH ANLYZR(C) | [8 empty] | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5091922 | UNKNOWN | CBPT pH Feed Clearwell EFF/WQA | NJCW-EZ-CBPT. | P216 | INSV | INST | HUSSAARM | M |  |  | PH ANLYZR(C) | [8 empty] | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5091923 | UNKNOWN | CBPT pH Raw EFF/WQA | NJCW-EZ-CBPT. | P216 | INSV | INST | HUSSAARM | M |  |  | PH ANLYZR(C) | [8 empty] | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5146433 | WALLACE-TIERNAN | KNOLLWD-WS ph/CL2 WQA for RES/WQA | NJCW-WZ-KNSTE-WELL | P216 | INSV | INST | HUSSAARM | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5146437 | UNKNOWN | SHORTHILLBS ph/CL2 WQA for RES/WQA | NJCW-EZ-SHBST | P216 | INSV | INST | HUSSAARM | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5146440 | UNKNOWN | CHESTERBS ph/pre-CL2 WQA RES/WQA | NJCW-WZ-CHBST | P216 | OOS | INAC INST | HUSSAARM | L |  |  | PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5146443 | UNKNOWN | NAZRTHWL ph/CL2 WQA for RES/WQA | NJCW-WZ-NAZRT | P216 | INSV | INST | HUSSAARM | H |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5146447 | UNKNOWN | BALT-BS ph/CL2 WQA for RES/WQA | NJCW-EZ-BALT.-BS.. | P216 | INSV | INST | HUSSAARM | H |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5146451 | WALLACE-TIERNAN | DIAMNDBS ph/CL2 WQA for RES/WQA | NJCW-EZ-DIAMN | P216 | INSV | INST | HUSSAARM | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5146454 | WALLACE-TIERNAN | NEASTWL ph/CL2 WQA for RES/WQA | NJCW-WZ-NEAST | P216 | INSV | INST | HUSSAARM | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5146458 | UNKNOWN | BASKRIDGEBS ph/CL2 WQA for RES/WQA | NJCW-WZ-BASKR | P216 | INSV | INST | HUSSAARM | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5146461 | UNKNOWN | COITBS ph/CL2 WQA for RES/WQA | NJCW-EZ-COITB | P216 | INSV | INST | HUSSAARM | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5146465 | UNKNOWN | WASHVALLBS CL2 WQA for RES/WQA | NJCW-WZ-WASHV | P216 | INSV | INST | HUSSAARM | M |  |  | CL2 AMPEROMETRIC ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5146468 | UNKNOWN | PASSAICRVR-CHM ph/CL2 WQA for RES/WQA | NJCW-EZ-PAWST-CHBL | P216 | INSV | INST | HUSSAARM | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5146471 | UNKNOWN | MASTERMETERVLT ph/CL2 WQA for RES/WQA | NJCW-EZ-MASTE | P216 | INSV | INST | HUSSAARM | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5146475 | WALLACE-TIERNAN | FRANKLINWL pH/CL2 for RES/WQA | NJCW-WZ-FRANK | P216 | INSV | INST | HUSSAARM | M |  | DEPOLOX 3 | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  |  | Maint Water Treatment Equip | Ops Water Treatment
5146478 | UNKNOWN | WASHVALLBS ph/CL2 WQA for RES/WQA | NJCW-WZ-WASHV | P216 | INSV | INST | HUSSAARM | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5146482 | WALLACE-TIERNAN | MTVALLEY-WS ph/CL2 WQA for RES/WQA | NJCW-WZ-MTVAL-WS.. | P216 | INSV | INST | HUSSAARM | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5146485 | WALLACE-TIERNAN | MTPROSPECT-BS ph/CL2 for RES/WQA | NJCW-WZ-MTPRO-BS.. | P216 | OOS | INAC INST | HUSSAARM | M |  | DEPOLOX 3 | CL2 AMPEROMETRIC ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5146488 | WALLACE-TIERNAN | PASSAICVALBS pH/CL2 for RES/WQA | NJCW-EZ-PABST | P216 | INSV | INST | HUSSAARM | M |  | DEPOLOX 3 | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5146491 | HACH | PASSAICVALBS TURB/WQA | NJCW-EZ-PABST | P216 | INSV | INST | HUSSAARM | M |  | 1720C | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  |  | Maint Water Treatment Equip | Ops Water Treatment
5146495 | UNKNOWN | WYOMLO-BS ph/CL2 WQA for RES/WQA | NJCW-EZ-WYOML-BS.. | P216 | OOS | INAC INST | HUSSAARM | L |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5146499 | UNKNOWN | FLORPKCHEM ph/pre-CL2 WQA for RES/WQA | NJCW-EZ-FLCBG | P216 | OOS | INAC INST | HUSSAARM | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5146702 | UNKNOWN | FLORPKCHEM post-CL2 WQA for RES/WQA | NJCW-EZ-FLCBG | P216 | INSV | INST | HUSSAARM | M |  |  | CL2 AMPEROMETRIC ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5146705 | UNKNOWN | GREGAVE-RES ph/pre-CL2 WQA for RES/WQA | NJCW-EZ-GREGA-RES. | P216 | INSV | INST | HUSSAARM | L |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW | [6 empty] | Maint Water Treatment Equip | Ops Water Treatment
5159046 | SIEMENS | FOURSEASONS PRE CL2/WQA | NJFS-FS-FOURS | P216 | INSV | INST | HUSSAARM | M |  | DEPLOX | CL2 AMPEROMETRIC ANLYZR(C) |  |  |  |  | 0.0 PSI |  |  |  | AW | [5 empty] | Y | Maint Water Treatment Equip | Ops Water Treatment
5159048 | SIEMENS | FOURSEASONS-TRT POST CL2/WQA | NJFS-FS-FOURS-TRT. | P216 | INSV | INST | HUSSAARM | M |  | DEPLOX | CL2 AMPEROMETRIC ANLYZR(C) |  |  |  |  | 0.0 PSI |  |  |  | AW | [5 empty] | Y | Maint Water Treatment Equip | Ops Water Treatment
5160076 | HACH | CBPT-PMPR RAW WATER TURBIDIT/WQA | NJCW-EZ-CBPT.-PMPR | P216 | INSV | INST | HUSSAARM | M |  | 1720E/SC200 | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160077 | SIEMENS | CBPT-PMPR RAW WATER PH /WQA | NJCW-EZ-CBPT.-PMPR | P216 | INSV | INST | HUSSAARM | M |  | Depolox3 Plus Resi | PH ANLYZR(C) |  |  |  |  | 0.0 PSI |  | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160078 | UNKNOWN | CBPT-PMPR RAW WATER PRIM TOC /WQA | NJCW-EZ-CBPT.-PMPR | P216 | INSV | INST | HUSSAARM | M |  | Sievers5310C OnLine | TOC ANLYZR (C) | [6 empty] | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160079 | ROSEMOUNT | CBPT-PMPR SIDE STEAM WATER TEMP/WQA | NJCW-EZ-CBPT.-PMPR | P216 | INSV | INST | HUSSAARM | M |  | 644H | OTHER ANLYZR(C) | [6 empty] | Y |  | AW |  |  |  | Y |  | Y | Maint Water Treatment Equip | Ops Water Treatment
5160080 | SIEMENS | CBPT-PMPR SIDE STEAM WATER PH/WQA | NJCW-EZ-CBPT.-PMPR | P216 | INSV | INST | HUSSAARM | M |  | Depolox3 Plus Resi | PH ANLYZR(C) | [6 empty] | Y |  | AW |  |  |  | Y |  | N | Maint Water Treatment Equip | Ops Water Treatment
5160081 | ROSEMOUNT | CBPT-PMPR SIDESTREAM TEMP SENS/TRANS/WQA | NJCW-EZ-CBPT.-PMPR | P216 | INSV | INST | HUSSAARM | M |  | 644H | OTHER ANLYZR(C) | [6 empty] | Y |  | AW |  |  |  | Y |  | Y | Maint Water Treatment Equip | Ops Water Treatment