## Well
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Capacity (GPM) | Depth in (FT) | Diameter Bottom (in) | Diameter Top (in) | Owned By | Permit Duration (Yrs | Permit Last Renewal | Permit# | Special Mtn Note | Special Mtn Note Det | Static Water Level ( | Well Type | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5237904 | UNKNOWN | /WELL | ILCP-SD-SADO.-WEL3 | P301 | INSV | INST | LOD_EAM_01 | M | 0 | 0 |  |  |  |  | AW |  | 12/31/1899 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5237903 | UNKNOWN | /WELL | ILCP-SD-SADO.-WEL2 | P301 | INSV | INST | LOD_EAM_01 | M | 0 | 0 |  |  |  |  | AW |  | 12/31/1899 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5237902 | UNKNOWN | /WELL | ILCP-SD-SADO.-WEL1 | P301 | INSV | INST | LOD_EAM_01 | M | 0 | 0 |  |  |  |  | AW |  | 12/31/1899 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010369 | UNKNOWN | WL73 /Well | ILCP-CP-WL73. | P301 | INSV | INST | HUSSAARM | H |  |  | 1,980 GPM | 202.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010367 | UNKNOWN | WL72 /Well | ILCP-CP-WL72. | P301 | INSV | INST | HUSSAARM | H |  |  | 1,980 GPM | 202.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010365 | UNKNOWN | WL71 /Well | ILCP-CP-WL71. | P301 | INSV | INST | HUSSAARM | H |  |  | 1,980 GPM | 202.00 Feet | 0.000 " | 0.000 " | AW | 0.00 yr | 01/01/1800 |  |  |  | 0.00 Feet | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010363 | UNKNOWN | WL70 /Well | ILCP-CP-WL70. | P301 | INSV | INST | HUSSAARM | H |  |  | 1,980 GPM | 202.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010361 | UNKNOWN | WL69 /Well | ILCP-CP-WL69. | P301 | INSV | INST | HUSSAARM | H |  |  | 1,980 GPM | 202.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010359 | UNKNOWN | WL68 /Well | ILCP-CP-WL68. | P301 | INSV | INST | HUSSAARM | H |  |  | 1,980 GPM | 202.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010356 | UNKNOWN | WL52 /Well | ILCP-CP-WL52. | P301 | INSV | INST | HUSSAARM | L | [6 empty] | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010354 | UNKNOWN | WL36 /Well | ILCP-UR-WL36. | P301 | INSV | INST | HUSSAARM | L | [6 empty] | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010352 | UNKNOWN | BRAD-W67 /Well | ILCP-CP-BRAD.-W67. | P301 | INSV | INST | HUSSAARM | H |  |  | 1,980 GPM | 202.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010351 | UNKNOWN | WL65 /Well | ILCP-CP-WL65. | P301 | INSV | INST | HUSSAARM | H |  |  | 2,500 GPM | 300.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010349 | UNKNOWN | WL56 /Well | ILCP-CP-WL56. | P301 | INSV | INST | HUSSAARM | H |  |  | 1,300 GPM | 166.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010346 | UNKNOWN | WL57 /Well | ILCP-CP-WL57. | P301 | INSV | INST | HUSSAARM | H |  |  | 1,700 GPM | 178.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010343 | UNKNOWN | WL59 /Well | ILCP-CP-WL59. | P301 | INSV | INST | HUSSAARM | H |  |  | 1,750 GPM | 257.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010341 | UNKNOWN | NTWL-W47 /Well | ILCP-UR-NTWL.-W47. | P301 | INSV | INST | HUSSAARM | H |  |  | 140 GPM | 200.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010338 | UNKNOWN | NTWL-W46 /Well | ILCP-UR-NTWL.-W46. | P301 | INSV | INST | HUSSAARM | H |  |  | 370 GPM | 200.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010335 | UNKNOWN | NTWL-W45 /Well | ILCP-UR-NTWL.-W45. | P301 | INSV | INST | HUSSAARM | H |  |  |  | 238.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010334 | UNKNOWN | NTWL-W42 /Well | ILCP-UR-NTWL.-W42. | P301 | INSV | INST | HUSSAARM | H |  |  | 500 GPM | 192.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010331 | UNKNOWN | NTWL-W41 /Well | ILCP-UR-NTWL.-W41. | P301 | INSV | INST | HUSSAARM | H |  |  | 550 GPM | 195.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010328 | UNKNOWN | NTWL-W40 /Well | ILCP-UR-NTWL.-W40. | P301 | INSV | INST | HUSSAARM | H |  |  | 300 GPM | 190.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010325 | UNKNOWN | NTWL-W35 /Well | ILCP-UR-NTWL.-W35. | P301 | INSV | INST | HUSSAARM | H |  |  | 400 GPM | 203.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010322 | UNKNOWN | WL63 /Well | ILCP-CP-WL63. | P301 | INSV | INST | HUSSAARM | H |  |  | 2,000 GPM | 232.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010321 | UNKNOWN | WL55 /Well | ILCP-CP-WL55. | P301 | INSV | INST | HUSSAARM | H |  |  | 950 GPM | 225.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010320 | UNKNOWN | WL43 /Well | ILCP-UR-WL43. | P301 | INSV | INST | HUSSAARM | H | [6 empty] | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010319 | UNKNOWN | WL53 /Well | ILCP-CP-WL53. | P301 | INSV | INST | HUSSAARM | H |  |  | 1,350 GPM | 221.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010318 | UNKNOWN | WL66 /Well | ILCP-CP-WL66. | P301 | INSV | INST | HUSSAARM | H |  |  | 2,400 GPM | 310.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010315 | UNKNOWN | WL62 /Well | ILCP-CP-WL62. | P301 | INSV | INST | HUSSAARM | H |  |  | 2,000 GPM | 267.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010313 | UNKNOWN | WL64 /Well | ILCP-CP-WL64. | P301 | INSV | INST | HUSSAARM | H |  |  | 1,400 GPM | 240.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010311 | UNKNOWN | WL61 /Well | ILCP-CP-WL61. | P301 | INSV | INST | HUSSAARM | H |  |  | 2,200 GPM | 234.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010309 | UNKNOWN | WL60 /Well | ILCP-CP-WL60. | P301 | INSV | INST | HUSSAARM | H |  |  | 2,500 GPM | 242.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010307 | UNKNOWN | WL54 /Well | ILCP-CP-WL54. | P301 | INSV | INST | HUSSAARM | H |  |  | 2,700 GPM | 250.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010305 | UNKNOWN | WL58 /Well | ILCP-CP-WL58. | P301 | INSV | INST | HUSSAARM | H |  |  | 2,950 GPM | 200.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)
5010304 | UNKNOWN | MATS-W56 /Well | ILCP-CP-MATS.-W56. | P301 | INSV | INST | HUSSAARM | H |  |  | 1,370 GPM | 166.00 Feet |  |  | AW |  | 01/01/1800 |  |  |  |  | VERTICAL BORE | Maint Source of Supply Wells | Ops Source of Supply (S of S)