## Water Quality Analyzer
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Analyzer Type | Comm Protocol | High Alarm SetPoint | Loop Power | Low Alarm SetPoint | Max Pressure | NARUC Maintenance Ac | NARUC Operations Acc | NEMA Enclosure | On SCADA? | Output Type | Owned By | NARUC Special Mtn Note | Special Mtn Note | NARUC Special Mtn Note Det | Special Mtn Note Det | Standby Power Type | Transmitter? | Volt Rating | WQ-Temperature
5130655 | HACH | DRWTP-TRMT-FILT 2 TURB/WQA | NJBC-BU-DRWTP-TRMT-FILT | P203 | INSV | INST | CROCEJ | H | 08020C1723 | 1720E | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5130656 | HACH | DRWTP-TRMT-FILT 3 TURB/WQA | NJBC-BU-DRWTP-TRMT-FILT | P203 | INSV | INST | CROCEJ | H | 070700020480 | 1720D | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5130657 | HACH | DRWTP-TRMT-FILT 4 TURB/WQA | NJBC-BU-DRWTP-TRMT-FILT | P203 | INSV | INST | CROCEJ | H | 070900020481 | 1720D | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5130658 | HACH | DRWTP-TRMT-FILT 5 TURB/WQA | NJBC-BU-DRWTP-TRMT-FILT | P203 | INSV | INST | CROCEJ | H | 08020C1722 | 1720E | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5130659 | HACH | DRWTP-TRMT-FILT 6 TURB/WQA | NJBC-BU-DRWTP-TRMT-FILT | P203 | INSV | INST | CROCEJ | H | 08020C1730 | 1720E | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5130660 | HACH | DRWTP-TRMT-FILT 7 TURB/WQA | NJBC-BU-DRWTP-TRMT-FILT | P203 | INSV | INST | CROCEJ | H | 08020C1718 | 1720C | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5130661 | HACH | DRWTP-TRMT-FILT 8 TURB/WQA | NJBC-BU-DRWTP-TRMT-FILT | P203 | INSV | INST | CROCEJ | H | 980200000492 | 1720D | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5130662 | HACH | DRWTP-TRMT COM FLTR EFF TURB/WQA | NJBC-BU-DRWTP-TRMT | P203 | INSV | INST | CROCEJ | H | 08030C1189 | SC200 LXV401-52-0002 | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5130663 | HACH | DRWTP-TRMT FINISHED TURB/WQA | NJBC-BU-DRWTP-TRMT | P203 | INSV | INST | CROCEJ | H | 08030C1181 | SC100 LXV401.52.0002 | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5130664 | HACH | DRWTP-TRMT OP LAB TURB/WQA | NJBC-BU-DRWTP-TRMT | P203 | INSV | INST | CROCEJ | H | 941200001616 | 45000-12 | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5130665 | HACH | DRWTP-RWPS RAW TURB/WQA | NJBC-BU-DRWTP-RWPS | P203 | INSV | INST | CROCEJ | M | 051100008357 | SS6 | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5130666 | UNKNOWN | DRWTP-TRMT STRM CURRNT TRAIN 1/WQA | NJBC-BU-DRWTP-TRMT | P203 | INSV | INST | CROCEJ | M |  |  | SCD ANLYZR(C) | [5 empty] | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5130667 | UNKNOWN | DRWTP-TRMT STRM CURRNT TRAIN 2/WQA | NJBC-BU-DRWTP-TRMT | P203 | INSV | INST | CROCEJ | M |  |  | SCD ANLYZR(C) | [5 empty] | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5144000 | UNKNOWN | WALN CL2 AND pH/WQA | NJHR-Z1-WALN. | P203 | INSV | INST | CROCEJ | M |  | DEPOLOX 3 | CL2 AMPEROMETRIC ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW
5144003 | UNKNOWN | WOOD CL2 AND pH/WQA | NJHR-Z1-WOOD. | P203 | INSV | INST | CROCEJ | M |  | DEPOLOX 3 | CL2 AMPEROMETRIC ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW
5144005 | UNKNOWN | BRIG CL2 AND pH/WQA | NJBP-Z1-BRIG. | P203 | INSV | INST | CROCEJ | M |  | DEPOLOX 3 | CL2 AMPEROMETRIC ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW
5144007 | UNKNOWN | RANN CL2 AND pH/WQA | NJPG-PG-RANN. | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW
5145837 | UNKNOWN | BECK CL2/WQA | NJLO-Z1-BECK. | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5145838 | UNKNOWN | BECK PH/WQA | NJLO-Z1-BECK. | P203 | INSV | INST | CROCEJ | M |  |  | PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5145839 | UNKNOWN | BIRCH CL2/WQA | NJLO-Z1-BIRCH | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5145840 | UNKNOWN | BIRCH PH/WQA | NJLO-Z1-BIRCH | P203 | INSV | INST | CROCEJ | M |  |  | PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5145841 | UNKNOWN | BECK TURB/WQA | NJLO-Z1-BECK. | P203 | INSV | INST | CROCEJ | M |  |  | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5145842 | UNKNOWN | BIRCH TURB/WQA | NJLO-Z1-BIRCH | P203 | INSV | INST | CROCEJ | M |  |  | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5156736 | UNKNOWN | DRWTP-RWPS pH/WQA | NJBC-BU-DRWTP-RWPS | P203 | INSV | INST | CROCEJ | M |  |  | PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5190200 | SIEMENS | MANS Pot Perm Anal /WQA | NJBC-MF-MANS. | P203 | INSV | INST | TAYLORDM | H |  |  | OTHER ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5190201 | SIEMENS | HOME Pot Perm Anal /WQA | NJBC-HS-HOME. | P203 | INSV | INST | TAYLORDM | H |  |  | OTHER ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW
5190202 | SIEMENS | WOOD Pot Perm Anal /WQA | NJBC-MH-WOOD. | P203 | INSV | INST | TAYLORDM | H |  |  | OTHER ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW
5190203 | WALLACE & TIERNAN | BECK Pot Perm Anal /WQA | NJLO-Z1-BECK. | P203 | INSV | INST | TAYLORDM | H | 1335 | 101D | OTHER ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW
5198600 | UNKNOWN | GREEN pH and CL2 and CONDUCT/WQA | NJBC-MH-GREEN | P203 | INSV | INST | TAYLORDM | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW | [5 empty] | Y
5205982 | UNKNOWN | WOOD. pH and CL2 and CONDUCT/WQA | NJBC-MH-WOOD. | P203 | INSV | INST | TAYLORDM | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW | [5 empty] | Y
5206206 | UNKNOWN | VNCE pH and CL2 and CONDUCT/WQA | NJBC-VT-VNCE. | P203 | INSV | INST | TAYLORDM | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW | [5 empty] | Y
5211384 | WALLACE-TIERNAN | RANN FINISHED WTR PH/CL2 ANALYZER /WQA | NJPG-PG-RANN.-TRT. | P203 | INSV | INST | CROCEJ | H | W3T166419 | 3104667 | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW
5211385 | WALLACE-TIERNAN | RANN FILTER EFF PH/CL2ANALYZER /WQA | NJPG-PG-RANN.-TRT. | P203 | INSV | INST | CROCEJ | H | W3T166419 | 3104668 | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW
5211386 | WALLACE-TIERNAN | RANN PRE FILTER PH ANALYZER /WQA | NJPG-PG-RANN.-TRT. | P203 | INSV | INST | CROCEJ | H | W3T166419 | 3104434 | PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW
5211387 | HACH | RANN FINISHED WTR TURBIDIMETER /WQA | NJPG-PG-RANN.-TRT. | P203 | INSV | INST | CROCEJ | H | SC200 | 1211C0050851 | TUBIDITY ANLYZR (HI)(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW
5247959 | UNKNOWN | MANS TURB/WQA | NJBC-MF-MANS. | P203 | INSV | INST | TAYLORDM | M |  |  | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5130654 | HACH | DRWTP-TRMT-FILT 1 TURB/WQA | NJBC-BU-DRWTP-TRMT-FILT | P203 | INSV | INST | CROCEJ | H | 070900020483 | 1720D | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5087424 | UNKNOWN | BIRCH GAC Room PH /WQA | NJLO-Z1-BIRCH-GACR | P203 | INSV | INST | CROCEJ | M |  |  | PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW
5096159 | UNKNOWN | BRIG PH/WQA | NJBP-Z1-BRIG. | P203 | INSV | INST | CROCEJ | M |  |  | PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5102455 | WALLACE-TIERNAN | MEDFORDIC CL2 & pH/WQA-Effluent | NJBC-BU-MEDFO | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW | [5 empty] | Y
5106644 | UNKNOWN | HOME pH and CL2 and CONDUCT/WQA | NJBC-HS-HOME. | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment | 1,2 INDOOR | Y | OTHER | AW | [5 empty] | Y | 120 | Y
5106667 | UNKNOWN | MANS pH and CL2 and CONDUCT/WQA | NJBC-MF-MANS. | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW | [5 empty] | Y
5114274 | GREAT LAKES | CHURCHRCHL CL2 & pH County/WQA | NJBC-BU-CHURC | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW | [5 empty] | Y
5114276 | WALLACE-TIERNAN | CHURCHRCHL CL2 & pH City/WQA | NJBC-BU-CHURC | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW | [5 empty] | Y
5114279 | WALLACE-TIERNAN | NATIONPKIC CL2 & pH/WQA | NJBC-GL-NATIO | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW | [5 empty] | Y
5114282 | WALLACE-TIERNAN | MEDFORDIC CL2 & pH/WQA-Influent | NJBC-BU-MEDFO | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW | [5 empty] | Y
5114284 | WALLACE-TIERNAN | HIGHLAND CL2 & pH/WQA | NJBC-BU-HIGHL | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW | [5 empty] | Y
5114286 | WALLACE-TIERNAN | POMONA-ALB CL2 & pH/WQA | NJBC-BU-POMON-ALB. | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW | [5 empty] | Y
5114287 | WALLACE-TIERNAN | COOPER CL2 & pH/WQA | NJBC-BU-COOPE | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) | [5 empty] | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW | [5 empty] | Y
5114288 | WALLACE-TIERNAN | GLOUCESTERBS CL2 & pH/WQA | NJBC-GL-GLBST | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW | [5 empty] | Y
5114289 | WALLACE-TIERNAN | POMONA CL2 & pH/WQA | NJBC-BU-POMON | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW | [5 empty] | Y
5114290 | UNKNOWN | BROWNING CL2 & pH/WQA | NJBC-CM-BROWN | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW | [5 empty] | Y
5114291 | UNKNOWN | SOMERDALE CL2 & pH/WQA | NJBC-CM-SOMER | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW | [5 empty] | Y
5114293 | GREAT LAKES | GIBBSSTA CL2 & pH/WQA | NJBC-CM-GBSTA | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW | [5 empty] | Y
5114295 | WALLACE-TIERNAN | LAURELSP CL2 & pH/WQA | NJBC-CM-LAURE | P203 | INSV | INST | CROCEJ | M | 93278/93270-06 | AAB5383/AAB1531 | CL2 AMPEROMETRIC/PH ANLYZR(C) |  | 2.00/10.00 | Y | 0.00/4.00 | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment | 1,2 INDOOR | Y | 1-5V | AW |  |  |  |  | NONE | Y | 120 | N
5114298 | WALLACE-TIERNAN | HADDONHTS CL2 & pH/WQA | NJBC-CM-HAHTS | P203 | INSV | INST | CROCEJ | M | BM 92509 | AAB5383 | CL2 AMPEROMETRIC/PH ANLYZR(C) |  | 2.00/10.00 | Y | 0.00/4.00 | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment | 1,2 INDOOR | Y | 4-20MA | AW |  |  |  |  | GENERATOR | Y | 120 | N
5114900 | WALLACE-TIERNAN | VOORHEES Well # 21 CL2 & pH/WQA | NJBC-CM-VOORH | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW | [5 empty] | Y
5114903 | GREAT LAKES | MAGNOLIA CL2 & pH/WQA | NJBC-CM-MAGNO | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW | [5 empty] | Y
5114905 | WALLACE-TIERNAN | MURRAY CL2 & pH/WQA | NJBC-CM-MURRA | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW | [5 empty] | Y
5114907 | UNKNOWN | OLDORCHARD CL2 & pH/WQA | NJBC-CM-OLDOR | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW | [5 empty] | Y
5114909 | WALLACE-TIERNAN | OTTERBROOK CL2 & pH/WQA | NJBC-CM-OTTER | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW | [5 empty] | Y
5114911 | UNKNOWN | ASHLAND CL2 & pH/WQA | NJBC-CM-ASHLA | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW | [5 empty] | Y
5114913 | GREAT LAKES | RUNNEMEDE CL2 & pH/WQA | NJBC-CM-RUNNE | P203 | INSV | INST | CROCEJ | M |  |  | CL2 AMPEROMETRIC/PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  |  |  | AW | [5 empty] | Y
5130623 | EVOQUA | DRWTP-TRMT FREE CL2 POST/WQA | NJBC-BU-DRWTP-TRMT | P203 | INSV | INST | CROCEJ | H | 21-2014 | WST158815 | CL2 AMPEROMETRIC ANLYZR(C) | [5 empty] | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5130625 | WALLACE-TIERNAN | DRWTP-TRMT FREE CL2 FINISHED/WQA | NJBC-BU-DRWTP-TRMT | P203 | INSV | INST | CROCEJ | H | 41-2012 | MICRO 2000 WST158815 | CL2 AMPEROMETRIC ANLYZR(C) | [5 empty] | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5130646 | US FILTER | DRWTP-TRMT POTASSIUM PERM/WQA | NJBC-BU-DRWTP-TRMT | P203 | INSV | INST | CROCEJ | H | BL 90647-04 | DEPOLOX 3PL0S CL2 | OTHER ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5130647 | HACH | DRWTP-TRMT PRE pH TRAIN 1/WQA | NJBC-BU-DRWTP-TRMT | P203 | INSV | INST | CROCEJ | H | 991200000395 | EC 310 55100-60 | PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5130648 | HACH | DRWTP-TRMT POST pH/WQA | NJBC-BU-DRWTP-TRMT | P203 | INSV | INST | CROCEJ | H | 0412630055 | P53A4A1N | PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5130649 | HACH | DRWTP-TRMT FINISHED pH/WQA | NJBC-BU-DRWTP-TRMT | P203 | INSV | INST | CROCEJ | H | 0412630057 | P53A4A1N | PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5130650 | HACH | DRWTP-TRMT PLNT INLT pH OP LAB/WQA | NJBC-BU-DRWTP-TRMT | P203 | INSV | INST | CROCEJ | H | 991100000382 | EC 310 | PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5130651 | HACH | DRWTP-TRMT PRE pH TRAIN 2/WQA | NJBC-BU-DRWTP-TRMT | P203 | INSV | INST | CROCEJ | H | 991200000391 | EC 310 55100-60 | PH ANLYZR(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5130652 | HACH | DRWTP-TRMT PLANT INLET TURB/WQA | NJBC-BU-DRWTP-TRMT | P203 | INSV | INST | CROCEJ | H | 941200001619 | 45000-12 | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW
5130653 | HACH | DRWTP-TRMT SETTLED TURB/WQA | NJBC-BU-DRWTP-TRMT | P203 | INSV | INST | CROCEJ | H | 1412CO141969 | SC200 LXV404-99-0055 | TURBIDITY ANLYZR (LO)(C) |  |  |  |  | 0.0 PSI | Maint Water Treatment Equip | Ops Water Treatment |  | Y |  | AW